## Introduction
Service Line Inventory Template
Date last updated: July 27, 2022
What is the purpose of this template? The purpose of this draft template is to help water systems and states comply with the service line inventory requirements of the January 15, 2021 Lead and Copper Rule Revisions (LCRR). This template supplements the draft EPA document, Guidance for Developing and Maintaining a Service Line Inventory (2022) by providing fillable forms and tables that water systems can use to document their methods, organize their inventory, submit the initial inventory and inventory updates to the state, and document how they are making the inventory publicly available. This template also provides a checklist for state review. Note that EPA does NOT require systems use this template for their inventory. Refer to EPA's 2022 Inventory Guidance for minimum LCRR inventory requirements, recommendations, and disclaimers.
How is the template organized?
The worksheets in this template are color coded: Yellow sheets are instructions and background. Dark blue sheets are templates for systems. The dark green sheet is a template for states. See the table below for a description of each worksheet. |  | The cells in this template are also color coded: Gray cells are background or instructions. Light blue cells are fillable cells for systems. Aqua cells are the required fields in the Detailed Inventory worksheet. Light green cells are fillable cells for states.
Template Organization
Worksheet Type | Worksheet Name | Description
Background | Template Instructions_System | Contains detailed instructions for systems.
| Template Instructions_States | Contains detailed instructions for states.
| Classifying SLs | Summarizes requirements for classifying the entire service line when ownership is split (i.e., when the system owns a portion and the customer owns a portion).
Templates for Water Systems | PWS Information | For systems to document basic system information.
| Inventory Methods | For systems to document the methods and resources they used to develop and update their inventory.
| Inventory Summary | For systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications. Systems can enter the totals into this worksheet or automatically generate totals based on information in the Detailed Inventory worksheet.
| Detailed Inventory | Provides a customizable format water systems can use to track materials for each service line in their distribution system. Each row equals one service line connecting the water main to the customer's plumbing. Separate columns track location information, the system-owned portion, the customer-owned portion, other possible sources of lead, information for assigning a tap sample tiering classification, and information for lead service line replacement (LSLR). Systems can customize the worksheet by adding or deleting columns.
| Public Accessibility Doc. | For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
Templates for States | State Checklist | Provides a checklist that states can use to determine and document if water systems met all of the January 15, 2021 LCRR requirements for their Initial Inventory including timely submission, required elements, use of information sources, public accessibility, and public notification of service line materials.

## Dropdowns (hidden)
Drop down lists (Internal, DO NOT MODIFY)
Ownership | Basis of materials classification | Field Verification Methods
Select Ownership Type | Previous Materials Evaluation | Customer self-identification
The entire service line is owned by the water system | Installation record (e.g., tap card) | CCTV investigation at curb stop - internal
The entire service line is owned by the customer | Installation date after lead ban | CCTV investigation at curb stop - external
Ownership is split, meaning that the system owns and portion and the customer owns a portion | Service line diameter is > 2 inches | Water quality sampling
Other | Service line repair or replacement record | Mechanical excavation at one location
| Predictive model | Mechanical excavation at multiple locations
| Water sampling only with no records | Visual inspection at the meter pit
| Field inspection only with no records | Other
Other
State review of customer notification of service line material
Select "Yes", "No", or "N/A"
Yes
No
N/A
Sensitive subpopulations
No
Yes - School
Yes - Day Care
Yes - Multifamily Home
Yes - Other

## Classifying SLs
Classifying the Entire Service Line When Ownership Is Split
Purpose of this worksheet: To summarize EPA's requirements for classifying the entire service line when ownership is split.
Introduction
In many cases, service line ownership is split meaning that the system owns a portion and the customer owns a portion of the service line. Exhibit 1 below is a diagram of a possible division in service line ownership between the water system and customer. While the LCRR requires the inventory to categorize each service line or portions of the service line where ownership is split, a single classification per service line is also needed to support various LCRR requirements, such as lead service line replacement (LSLR), tap sampling, and risk mitigation. Table 1 below indicates how to classify the material for the entire service line when ownership is split between the water system and customer. For more information, see EPA's, Guidance for Developing and Maintaining a Service Line Inventory (2022).
Exhibit 1. Example of Service Line Ownership Distinction between the Water System and Customer
Source: Exhibit 2-2 of Guidance for Developing and Maintaining a Lead Service Line Inventory (USEPA, 2022).
Table 1: Classification of Entire Service Line When Ownership is Split
System-Owned Portion | Customer-Owned Portion | Classification for Entire Service Line
Lead | Lead | Lead
Lead | Galvanized Requiring Replacement | Lead
Lead | Non-lead | Lead
Lead | Lead Status Unknown | Lead
Non-lead | Lead | Lead
Non-lead and never previously lead | Non-lead, specifically galvanized pipe material | Non-lead
Non-lead | Non-lead, material other than galvanized | Non-lead
Non-lead | Lead Status Unknown | Lead Status Unknown
Non-lead, but system is unable to demonstrate it was not previously Lead | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Lead | Lead
Lead Status Unknown | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Non-lead | Lead Status Unknown
Lead Status Unknown | Lead Status Unknown | Lead Status Unknown
Source: Exhibit 2-3 of Guidance for Developing and Maintaining a Service Line Inventory (USEPA, 2022).

## PWS Information
PWS Information
Purpose of this worksheet: For water systems to document basic system information.
Facility Information
Water System Name:
Tyrone Townsite
PWSID: | Population Served (number of people): | Number of Service Connections: | PWS Type:
Tyrone Townsite | 960 | 326 | CWS NTNCWS
If you are a CWS, do multi-family residences comprise at least 20% of the structures you serve? |  |  | Select "Yes" or "No"
Mailing Address
Street or P.O. Box:
P.O. Box 570
City or Town: |  | State: | Zip Code:
Tyrone |  | New Mexico | 88065
System Contact Person
Name: |  | Title:
Alan Berg |  | TWWA President
Telephone: |  | Email:
(575) 654-0391 |  | guardianberg@gmail.com
Person Who Prepared Inventory (if different from above)
Name: |  | Title/Affiliation:
Eddie Mendoza |  | TWWA Water Operator
Telephone: |  | Email:
(575) 313-9829 |  | operator.emendoza@gmail.com

## Inventory Methods
Inventory Methodology
PWS Name: Tyrone Townsite
PWSID: Tyrone Townsite
Enter Date Last Updated:
Purpose of this worksheet: For water systems to document the methods and resources they used to develop and update their inventory.
Part 1: Historical Records Review
Type of Record | Describe the Records Reviewed for Your Inventory and Indicate Your Level of Confidence (e.g., Low, Medium, or High)
1. Previous Materials Evaluation Example: Locations of Tier 1 lead tap sampling locations that are served by a lead service line.
2. Construction Records and Plumbing Codes Examples: Local ordinance adopting an international plumbing code. Permits for replacing lead service lines.
3. Water System Records Examples: Capital improvement plans. Standard operating procedures. Engineering standards.
4. Distribution System Inspections and Records Examples: Distribution system maps. Tap cards. Service line repair/replacement records. Inspection records. Meter installation records.
5. Additional Records Required by Your State
6. Other Records
Part 2: Identifying Service Line Material During Normal Operations
1. During which normal operating activities are you collecting information on service line material? Check all that apply.
Water meter reading | Water main repair or replacement
Water meter repair or replacement | Backflow prevention device inspection
Service line repair or replacement | Other
If "Other", please explain:
2. Did you develop or revise standard operating procedures to collect service line material information during normal operation? |  | Select "Yes" or "No"
If "Yes", please describe:
Part 3: Service Line Investigations
1. Identify the service line investigation methods your system used to prepare the inventory (check all that apply). If a water system chooses an investigation method not specified by the state under 40 CFR §141.84(a)(3)(iv), state approval is required. Note that investigations are not required by the LCRR but can be used by systems to assess accuracy of historical records and gather information when service line material is unknown.
Visual Inspection at the Meter Pit | Water Quality Sampling - Other
Customer Self-Identification | Mechanical Excavation
CCTV Inspection at Curb Box - External | Vacuum Excavation
CCTV Inspection at Curb Box - Internal | Predictive Modeling
Water Quality Sampling - Targeted | Other
Water Quality Sampling - Flushed
Water Quality sampling - Sequential
If "Other", please explain:
Asbuilts for Communty
2. If "Predictive Modeling", please briefly describe the model and inputs used:
3. How did you prioritize locations for service line materials investigations? For example, did you consider environmental justice and/or sensitive populations, did you use predictive modeling, and/or did you target areas with high number of unknowns?

## Inventory Summary
Inventory Summary
PWS Name: Tyrone Townsite
PWSID: Tyrone Townsite
Enter Date Last Updated:
Purpose of this worksheet: For water systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications.
Part 1. General Information
1. Is this the Initial Inventory or an Inventory Update? |  | Select One
2a. Who owns the service lines in your system? If other, please explain below. |  | Select Ownership Type
2b. Is there documentation that defines service line ownership in your system, such as a local ordinance? If yes, please describe below and explain where ownership is split (e.g., property line, curb stop). |  | Select "Yes" or "No"
3a. Describe when lead service lines were generally installed in your system.
3b. When were lead service lines banned in your system? Reference the state or local ordinance that banned the use of lead in your system.
4. Do you have lead goosenecks, pigtails or connectors in your system? |  | No
5. What is your overall level of confidence in the inventory (i.e., "Low", "Medium", or "High.") Please explain your rationale below.
High as we have maps and asbuilts for water system
Part 2. Inventory Format
Describe your inventory format in the space provided below (e.g., the Detailed Inventory worksheet, custom spreadsheet, GIS map). Provide the filename and/or web address if applicable. Note that the state may require you to submit your detailed inventory of each service line in your distribution system.
Part 3. Inventory Summary Table 1
If you are using the Detailed Inventory worksheet, the classifications you select in the Column "Entire Service Line Material Classification" (Column X) will be used to calculate the total number of service lines for each of the four material classifications below. Otherwise, enter the number of service lines in the aqua-colored cells. Remember this is the classification for the entire service line.
Service Line Material Classification | Definition |  | Total Number of Service Lines (REQUIRED to be reported under the LCRR)
Lead | Any portion of the service line is known to be made of lead.2 |  | 1
Galvanized Requiring Replacement (GRR) | The service line is not made of lead, but a portion is galvanized and the system is unable to demonstrate that the galvanized line was never downstream of a lead service line. |  | 3
Non-Lead | All portions of the service line are known NOT to be lead or GRR through an evidence-based record, method, or technique. |  | 2
Lead Status Unknown | The service line material is not known to be lead or GRR. For the entire service line or a portion of it (in cases of split ownership), there is not enough evidence to support material classification. |  | 2
TOTAL |  |  | 8
Notes
1 This summary table is for reporting material for the entire service line connecting the water main to the customer's plumbing. See the Classifying SLs worksheet for additional guidance on assigning a materials classification to the entire service line when ownership is split. Remember that systems must track the system-owned and customer-owned portions separately in their inventory.
2 A lead-lined galvanized service line is consistent with the definition of an LSL under the LCRR (“a portion of pipe that is made of lead, which connects the water main to the building inlet”) (40 CFR §141.2) and must therefore be classified in the inventory as an LSL. Do NOT, however, count non-lead service lines with a lead gooseneck or pigtail as lead service lines unless required by your state.

## Detailed Inventory
Detailed Inventory
PWS Name: Tyrone Townsite
PWSID: Tyrone Townsite
Date Last Updated:
Purpose of this worksheet: To provide a customizable format water systems can use to track materials for each service line in their distribution system. General Instructions: Each row in this worksheet represents one service line connecting the water main to the customer's plumbing. The worksheet includes required and recommended elements; the columns with the aqua shading are required by the LCRR. Systems can customize by adding or deleting columns. Important notes for each column are in Row 12; also see the Template Instructions worksheet for detailed instructions. Note that users can freeze panes to enable them to see the headings and notes when entering data. The worksheet includes examples in rows 13 - 20 and is formatted for approximately 10,000 entries.
Location Information |  |  |  |  | System-Owned Portion | [8 empty] | Customer-Owned Portion | [7 empty] | Entire Service Line Material Classification | Other Potential Sources of Lead |  |  | Additional Information to Assign Tap Monitoring Tiering |  |  |  | Lead Service Line Replacement (LSLR)
Unique Service Line ID | Location Identifier |  | Sensitive Population? (Yes/No) | Disadvantaged Neighborhood? (Yes/No) | System-Owned Portion Service Line Material Classification | If Non-Lead in Column G, Was Material Ever Previously Lead? | Service Line Installation Date | Service Line Size | Basis of Material Classification | Was the Service Line Material Field Verified? | If "Yes" Service Line Material Was Field Verified: |  | Notes | Customer-Owned Portion Service Line Material Classification | Service Line Installation Date | Service Line Size | Basis of Material Classification | Was the Service Line Material Field Verified? | If "Yes" Service Line Material Was Field Verified: |  | Notes |  | Is there a Lead Connector? | Is there Lead Solder in the Service Line? | Describe Other Fittings and Equipment Connected to the Service Line that Contain Lead | Building Type Connected to Service Line | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed Before Your State's Lead Ban (Generally 1986 - 1988)? | Current LCR Sampling Site? | Date of System-owned LSLR | Date of Customer-owned LSLR
| Street Address | Other Location Identifier | [8 empty] | Describe the Field Verification Method | Enter the Date of Field Verification | [6 empty] | Describe the Field Verification Method | Enter the Date of Field Verification
A Unique ID is recommended for each service line. | Water systems must track addresses of all service lines in their internal inventory. For the publicly accessible version, location identifiers are required for lead and galvanized requiring replacement. If the system does not use addresses for their location identifier, other options could include GPS coordinates, landmark, intersection, block, or other details to specify service line locations. |  | Select Yes if sensitive subpopulation, e.g., day care, school, multifamily home. If Yes-Other, describe in the Notes field. | Does location meet state affordability guidelines or other measures? | Dropdown list includes recommended subclassifications. If "Non-Lead Other", describe in Notes field | Select Yes, No, or Don't know. Important for determining if downstream/ customer-owned galvanized service line requires replacement | Date, year, or estimated date range when the service line was installed or replaced | Diameter in inches | Select option from drop down list. If "Other," describe in the Notes field | Select Yes or No | Select option from drop down list. If "Other," describe in the Notes field | Enter approximate date of field verification or date that the record was updated | Can use this field for documenting additional relevant information, including when classification changes. | Dropdown list includes recommended subclassifications. If non-lead other, describe in Notes field. | Date, year, or estimated date range when the service line was installed or replaced | Diameter in inches | Select option from drop down list. If "Other," describe in the Notes field | Select Yes or No | Select option from drop down list. If "Other," describe in the Notes field | Enter approximate date of field verification or date that record was updated | Can use this field for documenting additional relevant information, including when classification changes. | Dropdown list includes four required service line classifications of Lead, Non-lead, Galvanized Requiring Replacement, or Unknown | For example, lead gooseneck or pigtail where the water main is connected to the service line | Select Yes, No, or Don't Know | For example, backflow preventer or meter containing lead | Note: This information may be helpful for identifying lead tap monitoring locations.
101 Azrite | 101 Azrite Ct, Tyrone Nm 88065 | Intersection of Test and Elm St. | No | No | Non-Lead - Copper | No | 1967 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2019-05-01 |  | Non-Lead - Copper | 1967 | 3/4 inch | Installation record (e.g., tap card) | No | Visual inspection at the meter pit |  |  | Non-Lead | No | Yes | lead soder | Single Family Residence | Yes | Yes | No
102 Azrite | 102 Azrite Ct, Tyrone Nm 88065 | Intersection of Test and Main St. | No | No | Non-Lead - Copper | No | Fall 1980 | 2 | Installation record (e.g., tap card) | Yes | Mechanical excavation at one location | 2020-09-10 |  | Galvanized | Fall 1980 | 2 | Installation record (e.g., tap card) | Yes | Mechanical excavation at one location | 2020-09-10 |  | Non-Lead | No | No |  | Single Family Residence | No | No | No
103 Azrite | 103 Azrite Ct, Tyrone Nm 88065 |  | No | No | Non-Lead - Copper | Don't know | 1985 | 1 1/2 | Service line repair or replacement record | No |  |  |  | Galvanized | 1908 | 1 1/2 | Installation record (e.g., tap card) | No |  |  |  | Galvanized Requiring Replacement | Don't Know | Don't Know |  | Other | Unknown | Unknown | No
104 Azrite | 104 Azrite Ct, Tyrone Nm 88065 |  | No | No | Unknown - Likely Lead |  | 1940's | 2 |  | No |  |  |  | Galvanized | 1940's | 2 |  | Yes | Customer self-identification | 2020-08-08 |  | Galvanized Requiring Replacement | Don't Know | Yes |  | Single Family Residence | No | Unknown | Yes
105 Azrite | 105 Azrite Ct, Tyrone Nm 88065 |  | Yes - Day Care | No | Unknown - Material Unknown |  | 1950-1960 | 3/4 |  | No |  |  |  | Unknown - Material Unknown | 1950-1960 | 3/4 |  | No |  |  |  | Unknown | Don't Know | Yes |  | Single Family Residence | No | Yes | No
106 Azrite | 106 Azrite Ct, Tyrone Nm 88065 |  | No | No | Lead-lined galvanized |  | 1955 | 2 | Installation record (e.g., tap card) | Yes | CCTV investigation at curb stop - internal | 2020-08-08 |  | Lead-lined galvanized | 1955 | 2 | Installation record (e.g., tap card) | No |  |  |  | Lead | Yes | No |  | Single Family Residence | No | Yes | Yes
107 Azrite | 107 Azrite Ct, Tyrone Nm 88065 | Building A | No | Yes | Non-Lead - Copper | Yes | 2015 | 2 | Service line repair or replacement record | No |  |  |  | Galvanized | 1950 - 1955 | 2 | Installation record (e.g., tap card) | Yes | Customer self-identification | 2020-01-15 |  | Galvanized Requiring Replacement | No | Don't Know | Backflow preventer | Single Family Residence | No | Unknown | No
108 Azrite | 108 Azrite Ct, Tyrone Nm 88065 | Building B | No | No | Non-Lead - Copper | Don't know | 2015 | 2 | Service line repair or replacement record | No |  |  |  | Unknown - Material Unknown | 1940's | 2 |  | No |  |  |  | Unknown | No | Yes |  | Single Family Residence | No | Unknown | No
109 Azrite | 109 Azrite Ct, Tyrone Nm 88065
110 Azrite | 110 Azrite Ct, Tyrone Nm 88065
111 Azrite | 111 Azrite Ct, Tyrone Nm 88065
112 Azrite | 112 Azrite Ct, Tyrone Nm 88065
101 Bornite | 101 Bornite Ct, Tyrone Nm 88065
102 Bornite | 102 Bornite Ct, Tyrone Nm 88065
103 Bornite | 103 Bornite Ct, Tyrone Nm 88065
104 Bornite | 104 Bornite Ct, Tyrone Nm 88065
105 Bornite | 105 Bornite Ct, Tyrone Nm 88065
106 Bornite | 106 Bornite Ct, Tyrone Nm 88065
107 Bornite | 107 Bornite Ct, Tyrone Nm 88065
108 Bornite | 108 Bornite Ct, Tyrone Nm 88065
109 Bornite | 109 Bornite Ct, Tyrone Nm 88065
110 Bornite | 110 Bornite Ct, Tyrone Nm 88065
111 Bornite | 111 Bornite Ct, Tyrone Nm 88065
112 Bornite | 112 Bornite Ct, Tyrone Nm 88065
113 Bornite | 113 Bornite Ct, Tyrone Nm 88065
201 Bornite | 201 Bornite St, Tyrone Nm 88065
202 Bornite | 202 Bornite St, Tyrone Nm 88065
203 Bornite | 203 Bornite St, Tyrone Nm 88065
204 Bornite | 204 Bornite St, Tyrone Nm 88065
205 Bornite | 205 Bornite St, Tyrone Nm 88065
206 Bornite | 206 Bornite St, Tyrone Nm 88065
207 Bornite | 207 Bornite St, Tyrone Nm 88065
208 Bornite | 208 Bornite St, Tyrone Nm 88065
209 Bornite | 209 Bornite St, Tyrone Nm 88065
210 Bornite | 210 Bornite St, Tyrone Nm 88065
211 Bornite | 211 Bornite St, Tyrone Nm 88065
212 Bornite | 212 Bornite St, Tyrone Nm 88065
213 Bornite | 213 Bornite St, Tyrone Nm 88065
214 Bornite | 214 Bornite St, Tyrone Nm 88065
215 Bornite | 215 Bornite St, Tyrone Nm 88065
216 Bornite | 216 Bornite St, Tyrone Nm 88065
217 Bornite | 217 Bornite St, Tyrone Nm 88065
218 Bornite | 218 Bornite St, Tyrone Nm 88065
219 Bornite | 219 Bornite St, Tyrone Nm 88065
220 Bornite | 220 Bornite St, Tyrone Nm 88065
221 Bornite | 221 Bornite St, Tyrone Nm 88065
222 Bornite | 222 Bornite St, Tyrone Nm 88065
224 Bornite | 224 Bornite St, Tyrone Nm 88065
301 Bornite | 301 Bornite St, Tyrone Nm 88065
302 Bornite | 302 Bornite St, Tyrone Nm 88065
303 Bornite | 303 Bornite St, Tyrone Nm 88065
304 Bornite | 304 Bornite St, Tyrone Nm 88065
305 Bornite | 305 Bornite St, Tyrone Nm 88065
306 Bornite | 306 Bornite St, Tyrone Nm 88065
307 Bornite | 307 Bornite St, Tyrone Nm 88065
308 Bornite | 308 Bornite St, Tyrone Nm 88065
309 Bornite | 309 Bornite St, Tyrone Nm 88065
310 Bornite | 310 Bornite St, Tyrone Nm 88065
311 Bornite | 311 Bornite St, Tyrone Nm 88065
312 Bornite | 312 Bornite St, Tyrone Nm 88065
313 Bornite | 313 Bornite St, Tyrone Nm 88065
314 Bornite | 314 Bornite St, Tyrone Nm 88065
315 Bornite | 315 Bornite St, Tyrone Nm 88065
316 Bornite | 316 Bornite St, Tyrone Nm 88065
317 Bornite | 317 Bornite St, Tyrone Nm 88065
318 Bornite | 318 Bornite St, Tyrone Nm 88065
319 Bornite | 319 Bornite St, Tyrone Nm 88065
320 Bornite | 320 Bornite St, Tyrone Nm 88065
322 Bornite | 322 Bornite St, Tyrone Nm 88065
101 Chalcocite | 101 Chalcocite Ct, Tyrone Nm 88065
102 Chalcocite | 102 Chalcocite Ct, Tyrone Nm 88065
103 Chalcocite | 103 Chalcocite Ct, Tyrone Nm 88065
104 Chalcocite | 104 Chalcocite Ct, Tyrone Nm 88065
105 Chalcocite | 105 Chalcocite Ct, Tyrone Nm 88065
106 Chalcocite | 106 Chalcocite Ct, Tyrone Nm 88065
107 Chalcocite | 107 Chalcocite Ct, Tyrone Nm 88065
108 Chalcocite | 108 Chalcocite Ct, Tyrone Nm 88065
109 Chalcocite | 109 Chalcocite Ct, Tyrone Nm 88065
110 Chalcocite | 110 Chalcocite Ct, Tyrone Nm 88065
111 Chalcocite | 111 Chalcocite Ct, Tyrone Nm 88065
112 Chalcocite | 112 Chalcocite Ct, Tyrone Nm 88065
201 Chalcocite | 201 Chalcocite St, Tyrone Nm 88065
202 Chalcocite | 202 Chalcocite St, Tyrone Nm 88065
203 Chalcocite | 203 Chalcocite St, Tyrone Nm 88065
204 Chalcocite | 204 Chalcocite St, Tyrone Nm 88065
205 Chalcocite | 205 Chalcocite St, Tyrone Nm 88065
206 Chalcocite | 206 Chalcocite St, Tyrone Nm 88065
207 Chalcocite | 207 Chalcocite St, Tyrone Nm 88065
208 Chalcocite | 208 Chalcocite St, Tyrone Nm 88065
209 Chalcocite | 209 Chalcocite St, Tyrone Nm 88065
210 Chalcocite | 210 Chalcocite St, Tyrone Nm 88065
211 Chalcocite | 211 Chalcocite St, Tyrone Nm 88065
212 Chalcocite | 212 Chalcocite St, Tyrone Nm 88065
213 Chalcocite | 213 Chalcocite St, Tyrone Nm 88065
214 Chalcocite | 214 Chalcocite St, Tyrone Nm 88065
215 Chalcocite | 215 Chalcocite St, Tyrone Nm 88065
216 Chalcocite | 216 Chalcocite St, Tyrone Nm 88065
218 Chalcocite | 218 Chalcocite St, Tyrone Nm 88065
220 Chalcocite | 220 Chalcocite St, Tyrone Nm 88065
301 Chalcocite | 301 Chalcocite St, Tyrone Nm 88065
302 Chalcocite | 302 Chalcocite St, Tyrone Nm 88065
303 Chalcocite | 303 Chalcocite St, Tyrone Nm 88065
304 Chalcocite | 304 Chalcocite St, Tyrone Nm 88065
305 Chalcocite | 305 Chalcocite St, Tyrone Nm 88065
306 Chalcocite | 306 Chalcocite St, Tyrone Nm 88065
307 Chalcocite | 307 Chalcocite St, Tyrone Nm 88065
308 Chalcocite | 308 Chalcocite St, Tyrone Nm 88065
309 Chalcocite | 309 Chalcocite St, Tyrone Nm 88065
310 Chalcocite | 310 Chalcocite St, Tyrone Nm 88065
311 Chalcocite | 311 Chalcocite St, Tyrone Nm 88065
312 Chalcocite | 312 Chalcocite St, Tyrone Nm 88065
313 Chalcocite | 313 Chalcocite St, Tyrone Nm 88065
314 Chalcocite | 314 Chalcocite St, Tyrone Nm 88065
315 Chalcocite | 315 Chalcocite St, Tyrone Nm 88065
316 Chalcocite | 316 Chalcocite St, Tyrone Nm 88065
318 Chalcocite | 318 Chalcocite St, Tyrone Nm 88065
401 Chalcocite | 401 Chalcocite St, Tyrone Nm 88065
402 Chalcocite | 402 Chalcocite St, Tyrone Nm 88065
403 | 403 Chalcocite St, Tyrone Nm 88065
404 Chalcocite St, Tyrone Nm 88065
405 Chalcocite St, Tyrone Nm 88065
406 Chalcocite St, Tyrone Nm 88065
407 Chalcocite St, Tyrone Nm 88065
408 Chalcocite St, Tyrone Nm 88065
409 Chalcocite St, Tyrone Nm 88065
410 Chalcocite St, Tyrone Nm 88065
411 Chalcocite St, Tyrone Nm 88065
412 Chalcocite St, Tyrone Nm 88065
413 Chalcocite St, Tyrone Nm 88065
414 Chalcocite St, Tyrone Nm 88065
415 Chalcocite St, Tyrone Nm 88065
416 Chalcocite St, Tyrone Nm 88065
417 Chalcocite St, Tyrone Nm 88065
418 Chalcocite St, Tyrone Nm 88065
419 Chalcocite St, Tyrone Nm 88065
421 Chalcocite St, Tyrone Nm 88065
423 Chalcocite St, Tyrone Nm 88065
425 Chalcocite St, Tyrone Nm 88065
101 Chalcopyrite Ave,Tyrone NM 88065
102 Chalcopyrite Ave,Tyrone NM 88065
103Chalcopyrite Ave,Tyrone NM 88065
104 Chalcopyrite Ct,Tyrone NM 88065
105 Chalcopyrite Ct,Tyrone NM 88065
106 Chalcopyrite Ct,Tyrone NM 88065
107 Chalcopyrite Ct,Tyrone NM 88065
108 Chalcopyrite Ct,Tyrone NM 88065
109 Chalcopyrite Ct,Tyrone NM 88065
110 Chalcopyrite Ct,Tyrone NM 88065
111 Chalcopyrite Ct,Tyrone NM 88065
112 Chalcopyrite Ct,Tyrone NM 88065
113 Chalcopyrite Ct,Tyrone NM 88065
114 Chalcopyrite Ct,Tyrone NM 88065
115 Chalcopyrite Ct,Tyrone NM 88065
116 Chalcopyrite Ct,Tyrone NM 88065
117 Chalcopyrite Ct,Tyrone NM 88065
118 Chalcopyrite Ct,Tyrone NM 88065
119 Chalcopyrite Ct,Tyrone NM 88065
120 Chalcopyrite Ct,Tyrone NM 88065
121 Chalcopyrite Ct,Tyrone NM 88065
122 Chalcopyrite Ct,Tyrone NM 88065
123 Chalcopyrite Ct,Tyrone NM 88065
100 Copper Dr, Tyrone Nm 88065
501 Copper Dr, Tyrone Nm 88065
502 Copper Dr, Tyrone Nm 88065
504 Copper Dr, Tyrone Nm 88065
506 Copper Dr, Tyrone Nm 88065
508 Copper Dr, Tyrone Nm 88065
510 Copper Dr, Tyrone Nm 88065
512 Copper Dr, Tyrone Nm 88065
514 Copper Dr, Tyrone Nm 88065
516 Copper Dr, Tyrone Nm 88065
518 Copper Dr, Tyrone Nm 88065
521 Copper Dr, Tyrone Nm 88065
523 Copper Dr, Tyrone Nm 88065
524 Copper Dr, Tyrone Nm 88065
525 Copper Dr, Tyrone Nm 88065
527 Copper Dr, Tyrone Nm 88065
101 Copper Ct, Tyrone Nm 88065
102 Copper Ct, Tyrone Nm 88065
103 Copper Ct, Tyrone Nm 88065
104 Copper Ct, Tyrone Nm 88065
105 Copper Ct, Tyrone Nm 88065
106 Copper Ct, Tyrone Nm 88065
107 Copper Ct, Tyrone Nm 88065
108 Copper Ct, Tyrone Nm 88065
109 Copper Ct, Tyrone Nm 88065
110 Copper Ct, Tyrone Nm 88065
111 Copper Ct, Tyrone Nm 88065
501 Covellite Dr, Tyrone Nm 88065
502 Covellite Dr, Tyrone Nm 88065
503 Covellite Dr, Tyrone Nm 88065
504 Covellite Dr, Tyrone Nm 88065
505 Covellite Dr, Tyrone Nm 88065
506 Covellite Dr, Tyrone Nm 88065
507 Covellite Dr, Tyrone Nm 88065
508 Covellite Dr, Tyrone Nm 88065
509 Covellite Dr, Tyrone Nm 88065
510 Covellite Dr, Tyrone Nm 88065
511 Covellite Dr, Tyrone Nm 88065
512 Covellite Dr, Tyrone Nm 88065
513 Covellite Dr, Tyrone Nm 88065
514 Covellite Dr, Tyrone Nm 88065
515 Covellite Dr, Tyrone Nm 88065
516 Covellite Dr, Tyrone Nm 88065
517 Covellite Dr, Tyrone Nm 88065
518 Covellite Dr, Tyrone Nm 88065
519 Covellite Dr, Tyrone Nm 88065
520 Covellite Dr, Tyrone Nm 88065
521 Covellite Dr, Tyrone Nm 88065
522 Covellite Dr, Tyrone Nm 88065
523 Covellite Dr, Tyrone Nm 88065
524 Covellite Dr, Tyrone Nm 88065
525 Covellite Dr, Tyrone Nm 88065
101 Cuprite Ct, Tyrone Nm 88065
102 Cuprite Ct, Tyrone Nm 88065
103 Cuprite Ct, Tyrone Nm 88065
104 Cuprite Ct, Tyrone Nm 88065
105 Cuprite Ct, Tyrone Nm 88065
106 Cuprite Ct, Tyrone Nm 88065
107 Cuprite Ct, Tyrone Nm 88065
108 Cuprite Ct, Tyrone Nm 88065
109 Cuprite Ct, Tyrone Nm 88065
201 Cuprite St, Tyrone Nm 88065
202 Cuprite St, Tyrone Nm 88065
203 Cuprite St, Tyrone Nm 88065
204 Cuprite St, Tyrone Nm 88065
205 Cuprite St, Tyrone Nm 88065
206 Cuprite St, Tyrone Nm 88065
207 Cuprite St, Tyrone Nm 88065
208 Cuprite St, Tyrone Nm 88065
209 Cuprite St, Tyrone Nm 88065
210 Cuprite St, Tyrone Nm 88065
212 Cuprite St, Tyrone Nm 88065
301 Cuprite St, Tyrone Nm 88065
302 Cuprite St, Tyrone Nm 88065
303 Cuprite St, Tyrone Nm 88065
304 Cuprite St, Tyrone Nm 88065
305 Cuprite St, Tyrone Nm 88065
306 Cuprite St, Tyrone Nm 88065
307 Cuprite St, Tyrone Nm 88065
308 Cuprite St, Tyrone Nm 88065
309 Cuprite St, Tyrone Nm 88065
310 Cuprite St, Tyrone Nm 88065
311 Cuprite St, Tyrone Nm 88065
312 Cuprite St, Tyrone Nm 88065
313 Cuprite St, Tyrone Nm 88065
314 Cuprite St, Tyrone Nm 88065
401 Cuprite St, Tyrone Nm 88065
402 Cuprite St, Tyrone Nm 88065
403 Cuprite St, Tyrone Nm 88065
404 Cuprite St, Tyrone Nm 88065
405 Cuprite St, Tyrone Nm 88065
406 Cuprite St, Tyrone Nm 88065
407 Cuprite St, Tyrone Nm 88065
408 Cuprite St, Tyrone Nm 88065
409 Cuprite St, Tyrone Nm 88065
410 Cuprite St, Tyrone Nm 88065
411 Cuprite St, Tyrone Nm 88065
412 Cuprite St, Tyrone Nm 88065
413 Cuprite St, Tyrone Nm 88065
414 Cuprite St, Tyrone Nm 88065
415 Cuprite St, Tyrone Nm 88065
416 Cuprite St, Tyrone Nm 88065
417 Cuprite St, Tyrone Nm 88065
418 Cuprite St, Tyrone Nm 88065
419 Cuprite St, Tyrone Nm 88065
420 Cuprite St, Tyrone Nm 88065
421 Cuprite St, Tyrone Nm 88065
422 Cuprite St, Tyrone Nm 88065
423 Cuprite St, Tyrone Nm 88065
424 Cuprite St, Tyrone Nm 88065
425 Cuprite St, Tyrone Nm 88065
426 Cuprite St, Tyrone Nm 88065
501 Cuprite St, Tyrone Nm 88065
502 Cuprite St, Tyrone Nm 88065
503 Cuprite St, Tyrone Nm 88065
504 Cuprite St, Tyrone Nm 88065
505 Cuprite St, Tyrone Nm 88065
506 Cuprite St, Tyrone Nm 88065
507 Cuprite St, Tyrone Nm 88065
508 Cuprite St, Tyrone Nm 88065
509 Cuprite St, Tyrone Nm 88065
50 Malachite Ave, Tyrone Nm 88065
101 Malachite Ave, Tyrone Nm 88065
102 Malachite Ave, Tyrone Nm 88065
401 Malachite Ave, Tyrone Nm 88065
402 Malachite Ave, Tyrone Nm 88065
403 Malachite Ave, Tyrone Nm 88065
404 Malachite Ave, Tyrone Nm 88065
405 Malachite Ave, Tyrone Nm 88065
407 Malachite Ave, Tyrone Nm 88065
408 Malachite Ave, Tyrone Nm 88065
501 Malachite Ave, Tyrone Nm 88065
502 Malachite Ave, Tyrone Nm 88065
503 Malachite Ave, Tyrone Nm 88065
504 Malachite Ave, Tyrone Nm 88065
505 Malachite Ave, Tyrone Nm 88065
506 Malachite Ave, Tyrone Nm 88065
507 Malachite Ave, Tyrone Nm 88065
508 Malachite Ave, Tyrone Nm 88065
509 Malachite Ave, Tyrone Nm 88065
510 Malachite Ave, Tyrone Nm 88065
511 Malachite Ave, Tyrone Nm 88065
512 Malachite Ave, Tyrone Nm 88065
603 Malachite Ave, Tyrone Nm 88065
101 Tenorite Ct, Tyrone Nm 88065
102 Tenorite Ct, Tyrone Nm 88065
103 Tenorite Ct, Tyrone Nm 88065
104 Tenorite Ct, Tyrone Nm 88065
105 Tenorite Ct, Tyrone Nm 88065
106 Tenorite Ct, Tyrone Nm 88065
101 Torbernite Dr, Tyrone Nm 88065
102 Torbernite Dr, Tyrone Nm 88065
103 Torbernite Dr, Tyrone Nm 88065
104 Torbernite Dr, Tyrone Nm 88065
105 Torbernite Dr, Tyrone Nm 88065
106 Torbernite Dr, Tyrone Nm 88065
107 Torbernite Dr, Tyrone Nm 88065
108 Torbernite Dr, Tyrone Nm 88065
109 Torbernite Dr, Tyrone Nm 88065
110 Torbernite Dr, Tyrone Nm 88065
112 Torbernite Dr, Tyrone Nm 88065
101 Turquoise Dr, Tyrone Nm 88065
202 Turquoise Dr, Tyrone Nm 88065
| 210 Turquoise Dr, Tyrone Nm 88065 |  | No | No

## Public Accessibility Doc.
Public Accessibility Documentation
PWS Name: Tyrone Townsite
PWSID: Tyrone Townsite
Enter Date Last Updated:
Purpose of this worksheet: For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
1. Select the location identifiers that you use for your service line inventory. Check all that apply.
Address
Street
Block
Intersection
Landmark
GPS Coordinates
Other
If "Other", please describe:
2. Does every service line have a location identifier? | Select "Yes" or "No"
If "No", explain. Remember that location identifiers are required for service lines that are lead and galvanized requiring replacement.
3. How are you making your inventory publicly accessible? Check all that apply. Remember that if your system serves > 50,000 people, you must provide the inventory online.
Interactive online map
Static online map
Online spreadsheet
Printed service line map
Printed tabular data
Information on water utility mailings or newsletter
Hard copy information available in water system office
Other
If "Other", please describe:

## State Checklist
State Checklist for Initial Inventory Submittal
PWS Name: Tyrone Townsite
PWSID: Tyrone Townsite
Enter Date Last Updated:
Purpose of this worksheet: For states to determine and document if water systems met all of the January 15, 2021 Lead and Copper Rule (LCRR) requirements for their Initial Inventory including timely submission, required elements, use of information sources, public accessibility, and public notification of service line materials.
Part 1: Person Completing This Checklist
Name: | Title:
Eddie Mendoza | Water Operator
Telephone: | Email:
(575) 313-9829 | operator.emendoza@gmail.com
Part 2: Review for Timely Submission
1. Was the initial inventory submitted by the deadline of October 16, 2024? |  | Select "Yes" or "No"
Consider post-mark or date sent via email or reported into a state data system.
Part 3: Review for Required Elements
1. Does the inventory include all service lines connected to the distribution system? |  | Select "Yes" or "No"
Consider if the total number of service lines in the Inventory Summary worksheet, Part 3, matches sanitary survey and monitoring data in the state’s database (e.g., SDWIS/State) based on population served, number of service connections (including those for non-potable use), number of accounts, census data, or other information.
2. Does the inventory include portions owned by the water system and the customer? |  | Select "Yes" or "No"
Check the service line ownership type selected in the Inventory Summary worksheet, Part 1, Question 2a. If the system selected "Ownership is Split" check that their inventory includes information for both the system-owned and customer-owned portions.
3. Did the system classify all service lines as either Lead, Galvanized Requiring Replacement (GRR), Non-Lead, or Lead Status Unknown? |  | Select "Yes" or "No"
Consider if the system completed each row of the inventory summary table in the Inventory Summary worksheet, Part 3. Some rows may be zero.
4. In the space below, provide additional comments/documentation related to required elements of the system's initial inventory.
Part 4: Review for Information Sources
1. Did the system use the following historical records to prepare their initial inventory: previous materials evaluation, construction and plumbing codes/records, water system records, distribution system inspections and records. |  | Select "Yes" or "No"
Consider if the system identified historical records in each row of the Inventory Methods worksheet, Part 1, Rows 1 through 4. Consider if the system completed Row 5 if additional records are required in your state.
2. Is the system collecting service line material information during normal operations? |  | Select "Yes" or "No"
Consider if the system checked one or more normal operations activities in the Inventory Methods worksheet, Part 2. Consider asking the systems to submit updated or new standard operating procedures documenting service line material information collection.
3. Has the system conducted investigations to verify service line material? |  | Select "Yes" or "No"
This is not required by the LCRR but recommended by EPA to verify historical records and gather information where records do not exist to reduce the number of unknowns in the system as quickly as possible. Consider: • If the system checked one or more of the investigative methods on the Inventory Methods worksheet, Part 3. • If in their inventory, the system indicated that the materials classification was based on investigations. • The number of unknowns - EPA strongly discourages systems from submitting inventories with all unknowns. If all service line materials are lead status unknown, consider asking the water system to conduct investigations.
4. In the space below, provide additional comments related to information sources used to develop the system's initial inventory.
Part 5: Review for Public Accessibility
1. Does the inventory include location identifiers for each service line that is lead or galvanized requiring replacement? |  | Select "Yes" or "No"
Consider checking the inventory for location identifiers and reviewing the system's answers in the Public Accessibility Doc. worksheet, Questions 1 and 2.
2. Did the system make its inventory publicly accessible? |  | Select "Yes" or "No"
Consider reviewing the method by which the water system is making its inventory publicly accessible as identified in the Public Accessibility Doc. worksheet, Question 3. Check that systems serving more than 50,000 people have posted their service line inventories online.
3. In the space below, provide additional comments/documentation related to public accessibility of the system's initial inventory.
Part 6: Review of Customer Notification of Service Line Material
1. Does the water system's inventory consist of all Non-Lead Service lines? |  | Select "Yes" or "No"
If No, complete questions 2 through 5. If Yes, stop here.
2. Did the water system deliver the notification to people served by a lead service line (LSL), GRR, or lead status unknown service line within 30 days of completing the initial inventory? |  | Select "Yes" or "No"
3. Did the water system demonstrate that they delivered the notification and provide a copy of the notification to the state by July 1 for the previous calendar year? |  | Select "Yes" or "No"
4. Did the notification include the required content?
a. For confirmed LSLs, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is lead,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water,
· Opportunities for service line replacement,
· Available financing programs, and
· A statement that the system must replace its portion if the property owners notify the system that
they are replacing their portion?
b. For GRRs, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is GRR,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water, and
· Opportunities for service line replacement?
c. For Unknowns, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is lead status unknown,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water, and
· Opportunities to verify the service line material?
5. If the water system serves communities with a large proportion of non-English speaking consumers, as determined by the state, did they provide public education materials, including those in 40 CFR §141.85(e), in the appropriate language(s) or containing a telephone number or address where persons served may contact the water system to obtain a translated copy of the materials or to request assistance in the appropriate language? |  | Select "Yes" or "No"
6. In the space below, provide additional comments/documentation related to customer notification for people served by an LSL, GRR, or lead status unknown service line.

## Building Conditionals (hidden)
DRAFT | [8 empty] | Form Option For Customer Side | Classification | System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line | Single-Owned Portion | Classification for Entire Service Line
| Note to EPA: This is a background sheet to be hidden or deleted | [7 empty] | Lead | Lead | Lead |  | Lead | Lead | Lead | Lead
[9 empty] | Lead-lined galvanized | Lead | Lead |  | Galvanized | Lead | Galvanized | Non-Lead
[9 empty] | Galvanized | Galvanized | Lead |  | Non-Lead | Lead | Non-Lead | Non-Lead
[9 empty] | Non-Lead - Copper | Non-Lead | Lead |  | Material Unknown | Lead | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Plastic | Non-Lead | Galvanized |  | Lead | Lead
[9 empty] | Non-Lead - Other | Non-Lead | Galvanized |  | Galvanized | Non-Lead
[9 empty] | Unknown - Likely Lead | Material Unknown | Galvanized |  | Non-Lead | Non-Lead
[9 empty] | Unknown - Unlikely Lead | Material Unknown | Galvanized |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Material Unknown | Material Unknown | Non-Lead |  | Lead | Lead
[11 empty] | Non-Lead | Y | Galvanized | Galvanized Requiring Replacement
[9 empty] | Form Option For System Side | Classification | Non-Lead | N | Galvanized | Non-Lead
[9 empty] | Lead | Lead | Non-Lead | DN | Galvanized | Galvanized Requiring Replacement
[9 empty] | Lead-lined galvanized | Lead | Non-Lead |  | Non-Lead | Non-Lead
[9 empty] | Galvanized | Galvanized | Non-Lead |  | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Copper | Non-Lead | Material Unknown |  | Lead | Lead
[9 empty] | Non-Lead - Plastic | Non-Lead | Material Unknown |  | Galvanized | Galvanized Requiring Replacement
[9 empty] | Non-Lead - Other | Non-Lead | Material Unknown |  | Non-Lead | Lead Status Unknown
[9 empty] | Unknown - Likely Lead | Material Unknown | Material Unknown |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Unlikely Lead | Material Unknown
| system_owned_portion |  | customer_owned_portion | service_line_classification |  |  |  |  | Unknown - Material Unknown | Material Unknown
| System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line |  | IF( | ) AND ( | THEN
| Lead |  | Lead | Lead |  | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion="Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Lead |  | Galvanized | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Lead"
| Lead |  | Non-Lead | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead"
| Lead |  | Material Unknown | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion=Lead Status Unknown THEN service_line_classification="Lead"
| Galvanized |  | Lead | Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion=Lead THEN service_line_classification="Lead"
| Galvanized |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Galvanized |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Galvanized |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Lead | Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead, but system is unable to demonstrate it was not previously Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Non-Lead |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Material Unknown |  | Lead | Lead | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Material Unknown |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Non-Lead | Lead Status Unknown | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Material Unknown | Lead Status Unknown |  |  | ELSE service_line_classification = "CLASSIFICATION ERROR" | ELSE "CLASSIFICATION ERROR"

## Form Lists (hidden)
Tab | Form Control Lists
Detailed Inventory | Sensitive Population? (Y/N) | Service Line Material Classification* | If Non-Lead, Was Material Ever Previously Lead? | Basis of Material Classification | Was the Service Line Material Field Verified? | Select the Field Verification Method | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site? | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site?
| No | Lead | Yes | Previous materials evaluation | Yes | Visual inspection at meter pit | Single Family Residence | Yes | Yes | Yes | Yes | Yes | Single Family Residence | Yes | Yes | Yes | Yes | Yes
| Yes - School | Lead-lined galvanized | No | Installation record (e.g., tap card) | No | Customer self-identification | Multiple Family Residence | No | Known | No | No | No | Multiple Family Residence | No | Known | No | No | No
| Yes - Day Care | Galvanized | Don't know | Installation date is after the lead ban |  | CCTV Inspection at Curb Box - Internal | Building | N/A | Unknown | Unknown | Unknown |  | Building | N/A | Unknown | Unknown | Unknown
| Yes - Other | Non-Lead - Copper |  | Service line diameter is greater than 2 inches |  | CCTV inspection at Curb Box - External | Other | [5 empty] | Other
|  | Non-Lead - Plastic |  | Service line repair or replacement record |  | Water Quality Sampling - Targeted
|  | Non-Lead - Other |  | Statistical analysis |  | Water Quality Sampling - Flushed
|  | Unknown - Likely Lead |  | Field inspection only with no records |  | Water Quality Sampling - Sequential
|  | Unknown - Unlikely Lead |  | Water sampling only with no records |  | Water Quality Sampling - Other
|  | Unknown - Material Unknown |  | Other |  | Mechanical Excavation at 1 location
Mechanical Excavation at multiple locations
| Note to EPA: this is a background sheet to be hidden or deleted |  |  |  | Other